## COVER
FILE NAME: | IC13C-241218-10KansasROARCarbon-3
ISIRF Isotope Cube INLET SUBMISSION FORM -- AS OF 4/29/2024
PESD Project: | Kansas ROAR and Oregon PINE
Project Description: | The Kansas ROAR projects investigates soil health practices influences over nitrate leaching (Soil Samples collected from 0-8 inches in Kansas farmlands)
Project Code & Tray ID for file name: | KansasROARCarbon-3
Investigator: | Compton
Affiliation: | FEB
Address: | Corvallis MOD 130
Email: | compton.jana@epa.gov
Phone: | 4620
Weigh Person: | Janice Chatfield
Analyses (13C, 15N, 34S): | 13C
Sample %C
Sample %N
Sample %S
Sample Description (Matrix): | Soil
Enriched Samples? (Y or N): | No
HazardousSamples? (Y or N): | No
Investigator ID# | 10
Date: (YYMMDD) | 241218
DIRECTIONS:
1. Obtain the ISIRF Solid Submission Form from the mass spectrometer operator.
2. Fill in the yellow shaded regions of the Cover, and Investigator Data Sheets (34 samples maximum).
3. Rename this file with the File name in dark tan box above, and e-mail to Lisandra Trine
4. ISIRF will identify standards and sample weights needed, and print the weighsheet.
5. ISIRF will give your weigh sheet to the trained weigh person identified above.
6. Have Weigh person submit samples and Weigh Sheet to the IRMS operator.
INDEX
Tab | Contents
Cover | PI Project and sample discription
Investigator Data | PI Sample identification, and Results
Weigh Sheet | Printable Sheet for hand entering weights
Investigator QA Data | PI and ISIRF Quality Assurance Information
ISIRF Raw | ISIRF use for raw data entery
ISIRF 15N | ISIRF use for d15N summary
ISIRF 13C | ISIRF use for d13C summary
ISIRF 34S | ISIRF use for d34S summary
Tables | ISIRF use for updated tables
Revisions | ISIRF revision summary

## Investigator Data
| FILE NAME: | IC13C-241218-10KansasROARCarbon-3 | [5 empty] | User Data
Sample # | Sample ID | Target Wt. | %C | δ13C | %N | δ15N | C/N
Rep 1 | 20231120_W1_H | 25 | 1.4474 | -17.5168 | 0.23881 | 6.031 | 6.0608
2 | 20240407_E1_A | 25 | 1.4578 | -18.6349 | 0.24384 | 5.7231 | 5.9786
3 | 20240407_E1_B | 25 | 1.1877 | -18.9805 | 0.22203 | 6.1204 | 5.3493
4 | 20240407_E1_C | 25 | 1.0882 | -17.9288 | 0.2022 | 7.0235 | 5.3819
5 | 20240407_E1_D | 25 | 0.87696 | -19.3669 | 0.19269 | 5.1773 | 4.551
6 | 20240407_E1_E | 25 | 1.279 | -18.1862 | 0.2168 | 6.6653 | 5.8995
7 | 20240407_E1_F | 25 | 1.0395 | -17.6872 | 0.20904 | 5.9113 | 4.9728
8 | 20240407_E1_G | 25 | 0.92634 | -18.821 | 0.1918 | 6.3929 | 4.8297
9 | 20240407_E1_H | 25 | 0.97958 | -19.9313 | 0.19174 | 5.6871 | 5.1089
10 | 20240407_E1_I | 25 | 1.0577 | -16.912 | 0.21001 | 5.8139 | 5.0363
11 | 20240407_E2_A | 25 | 0.97147 | -15.2637 | 0.21043 | 6.3412 | 4.6166
12 | 20240407_E2_B | 25 | 0.69674 | -10.0161 | 0.15153 | 5.3711 | 4.5982
13 | 20240407_E2_C | 25 | 2.3778 | -16.0927 | 0.30895 | 6.6513 | 7.6962
Rep 14 | 20240407_E2_D | 25 | 2.6758 | -16.9176 | 0.33263 | 7.3373 | 8.0444
15 | 20240407_E2_E | 25 | 1.9887 | -16.9247 | 0.28429 | 7.4902 | 6.9951
16 | 20240407_E2_F | 25 | 2.1085 | -17.6813 | 0.30106 | 7.2876 | 7.0033
17 | 20240407_E2_G | 25 | 2.35 | -17.5849 | 0.32504 | 7.1792 | 7.2298
18 | 20240407_E3_A | 25 | 2.5228 | -18.2581 | 0.33303 | 7.272 | 7.5752
19 | 20240407_E3_A_Dup | 25 | 2.2477 | -18.0714 | 0.30397 | 6.6455 | 7.3944
20 | 20240407_E3_B | 25 | 2.043 | -17.436 | 0.28839 | 7.3234 | 7.0843
21 | 20240407_E3_C | 25 | 2.076 | -17.8626 | 0.28733 | 7.2132 | 7.2253
22 | 20240407_E3_D | 25 | 2.0354 | -17.0308 | 0.2864 | 6.8576 | 7.1067
23 | 20240407_E3_E | 25 | 2.0671 | -15.7222 | 0.28774 | 6.767 | 7.184
24 | 20240407_E3_F | 25 | 1.8416 | -16.0441 | 0.27487 | 6.4528 | 6.6998
25 | 20240407_E3_G | 25 | 2.2666 | -15.6225 | 0.30662 | 6.4486 | 7.3922
26 | 20240407_E3_H | 25 | 2.4185 | -15.5684 | 0.31635 | 6.9817 | 7.645
27 | 20240407_E3_I | 25 | 1.8484 | -15.7671 | 0.28822 | 6.3963 | 6.4134
28 | 20240407_S2_A | 25 | 3.2715 | -25.4846 | 0.39199 | 4.5553 | 8.3458
29 | 20240407_S2_B | 25 | 12.1946 | -25.5099 | 1.0857 | 7.3199 | 11.2317
30 | 20240407_S2_C | 25 | 0.81545 | -11.4574 | 0.16302 | 5.7372 | 5.002
31 | 20240407_S2_D | 25 | 2.8678 | -25.7552 | 0.33502 | 4.493 | 8.56
32 | 20240407_S2_E | 25 | 1.8199 | -18.9879 | 0.25721 | 5.2744 | 7.0754
33 | 20240407_S2_F | 25 | 0.63178 | -11.1938 | 0.1506 | 6.0701 | 4.195
34 | 20240407_S2_G | 25 | 1.7304 | -17.1542 | 0.234 | 6.037 | 7.3951
35 | 20240407_S2_H | 25 | 1.6785 | -16.6566 | 0.24609 | 5.5216 | 6.8206
36 | 20240407_S2_I | 25 | 1.4758 | -17.14 | 0.22916 | 5.4254 | 6.4403

## Weigh Sheet
ISIRF Isotope Cube INLET SUBMISSION FORM -- AS OF 4/29/2024 |  |  |  |  | #Samples | 36
| FILE NAME: | IC13C-241218-10KansasROARCarbon-3 |  | WRITE FULL FILE NAME ON TRAY!!
WEIGH INFO: |  |  | Wt. (mg) | Calibration Info. Balance:
Sample Description: |  | Soil |  | Date | Balance Log Book
Sample %N, %C: |  | 0
Analyses: |  | 13C
Weigh Person: |  | Janice Chatfield
Sample Weight:
QC.Std: |  | ISIRF Ulva | 1.2
Cal-H.Std: |  | ISIRF Chitin | 1 | ISIRF USE ONLY
Cal-L.Std: |  | ISIRF Bamboo | 1.5 | DATE SUBMITTED: |  | 241218
QA Std: |  | NBS 1575 Pine Needles | 6.5 | DATE RUN: |  | 2025-03-24
Sample Cup |  | Tin | 5 X 9 | ANALYST: |  | LSDT
CO2 Dilution: @ 40 psi |  |  | 5 | Mode of Operation |  | 13C
ISIRF# | Well# | Sample ID | Target Wt. | Sample Wt. | Seq.
IC13C241218-101 | A1 | blank |  |  | 1
IC13C241218-102 | A2 | blank |  |  | 2
IC13C241218-103 | A3 | ISIRF Ulva | 1.2 | 1.203 | 3
IC13C241218-104 | A4 | ISIRF Chitin | 1 | 0.963 | 4
IC13C241218-105 | A5 | ISIRF Bamboo | 1.5 | 1.446 | 5
IC13C241218-106 | A6 | NBS 1575 Pine Needles | 6.5 | 6.792 | 6
IC13C241218-107 | A7 | R1-20231120_W1_H | 25 | 24.273 | 7
IC13C241218-108 | A8 | 20240407_E1_A | 25 | 24.242 | 8
IC13C241218-109 | A9 | 20240407_E1_B | 25 | 25.014 | 9
IC13C241218-1010 | A10 | 20240407_E1_C | 25 | 26.885 | 10
IC13C241218-1011 | A11 | 20240407_E1_D | 25 | 26.484 | 11
IC13C241218-1012 | A12 | 20240407_E1_E | 25 | 24.553 | 12
IC13C241218-1013 | B1 | 20240407_E1_F | 25 | 24.685 | 13
IC13C241218-1014 | B2 | 20240407_E1_G | 25 | 24.501 | 14
IC13C241218-1015 | B3 | 20240407_E1_H | 25 | 26.34 | 15
IC13C241218-1016 | B4 | ISIRF Ulva | 1.2 | 1.163 | 16
IC13C241218-1017 | B5 | 20240407_E1_I | 25 | 25.862 | 17
IC13C241218-1018 | B6 | 20240407_E2_A | 25 | 25.869 | 18
IC13C241218-1019 | B7 | 20240407_E2_B | 25 | 24.585 | 19
IC13C241218-1020 | B8 | 20240407_E2_C | 25 | 25.415 | 20
IC13C241218-1021 | B9 | R2-20240407_E2_D | 25 | 25.872 | 21
IC13C241218-1022 | B10 | R2-20240407_E2_D | 25 | 24.998 | 22
IC13C241218-1023 | B11 | 20240407_E2_E | 25 | 24.524 | 23
IC13C241218-1024 | B12 | 20240407_E2_F | 25 | 25.322 | 24
IC13C241218-1025 | C1 | 20240407_E2_G | 25 | 24.373 | 25
IC13C241218-1026 | C2 | 20240407_E3_A | 25 | 25.94 | 26
IC13C241218-1027 | C3 | blank |  |  | 27
IC13C241218-1028 | C4 | ISIRF Ulva | 1.2 | 1.135 | 28
IC13C241218-1029 | C5 | ISIRF Chitin | 1 | 0.979 | 29
IC13C241218-1030 | C6 | ISIRF Bamboo | 1.5 | 1.621 | 30
IC13C241218-1031 | C7 | NBS 1575 Pine Needles | 6.5 | 6.574 | 31
IC13C241218-1032 | C8 | 20240407_E3_A_Dup | 25 | 24.885 | 32
IC13C241218-1033 | C9 | 20240407_E3_B | 25 | 24.826 | 33
IC13C241218-1034 | C10 | 20240407_E3_C | 25 | 24.399 | 34
IC13C241218-1035 | C11 | 20240407_E3_D | 25 | 25.355 | 35
IC13C241218-1036 | C12 | 20240407_E3_E | 25 | 24.934 | 36
IC13C241218-1037 | D1 | 20240407_E3_F | 25 | 24.825 | 37
IC13C241218-1038 | D2 | 20240407_E3_G | 25 | 24.328 | 38
IC13C241218-1039 | D3 | 20240407_E3_H | 25 | 24.601 | 39
IC13C241218-1040 | D4 | 20240407_E3_I | 25 | 26.584 | 40
IC13C241218-1041 | D5 | ISIRF Ulva | 1.2 | 1.243 | 41
IC13C241218-1042 | D6 | 20240407_S2_A | 25 | 25.391 | 42
IC13C241218-1043 | D7 | 20240407_S2_B | 25 | 24.394 | 43
IC13C241218-1044 | D8 | 20240407_S2_C | 25 | 24.126 | 44
IC13C241218-1045 | D9 | 20240407_S2_D | 25 | 24.695 | 45
IC13C241218-1046 | D10 | 20240407_S2_E | 25 | 25.261 | 46
IC13C241218-1047 | D11 | 20240407_S2_F | 25 | 24.554 | 47
IC13C241218-1048 | D12 | 20240407_S2_G | 25 | 24.314 | 48
IC13C241218-1049 | E1 | 20240407_S2_H | 25 | 24.675 | 49
IC13C241218-1050 | E2 | 20240407_S2_I | 25 | 25.174 | 50
IC13C241218-1051 | E3 | R1-20231120_W1_H | 25 | 24.794 | 51
IC13C241218-1052 | E4 | blank |  |  | 52
IC13C241218-1053 | E5 | ISIRF Ulva | 1.2 | 1.284 | 53
IC13C241218-1054 | E6 | ISIRF Chitin | 1 | 1.079 | 54
IC13C241218-1055 | E7 | ISIRF Bamboo | 1.5 | 1.581 | 55
IC13C241218-1056 | E8 | NBS 1575 Pine Needles | 6.5 | 6.873 | 56

## ISIRF RAW
ISIRF USE ONLY
DATE RUN: | 2025-03-24
ANALYST: | LSDT |  | FILE NAME: | IC13C-241218-10KansasROARCarbon-3
METHOD: | 13C
Sample Name | Line | Sample Wt (mg) | Mass 28 nA | N2 Area | Mass 44 nA | CO2 Area | Mass 64 nA | SO2 Area | Wt % N | 15N ‰ Air | 15N ‰ Air Corrected | Wt % C | 13C ‰ pdb | 13C ‰ pdb Corrected | Wt % S | 34S ‰ pdb | 34S ‰ pdb Corrected | Date | Filename
blank | 7 | 37.5 | 0.073872 | 1698372 | 0 | 0 |  |  | 0.099202 | -1.395 | -1.6716 | 0 | 0.14078 | -0.31927 |  |  |  | 2029-03-25 16:30 | IC15N-241218-10KansasRoarCarbon-3_1.raw
blank | 8 | 37.5 | 0.015689 | 368016 | 0 | 0 |  |  | 0.094538 | -14.3082 | -14.1663 | 0 | 0.11872 | -0.34157 |  |  |  | 2029-03-25 16:41 | IC15N-241218-10KansasRoarCarbon-3_2.raw
ISIRF Ulva | 9 | 1.203 | 4.4609 | 71002552 | 5.5945 | 56886720 |  |  | 4.1283 | 8.0851 | 7.5012 | 32.8935 | -12.1981 | -12.7898 |  |  |  | 2029-03-25 16:52 | IC15N-241218-10KansasRoarCarbon-3_3.raw
ISIRF Chitin | 10 | 0.963 | 5.6858 | 89403248 | 6.1319 | 62863428 |  |  | 6.4137 | -4.7521 | -4.9199 | 45.4073 | -20.6454 | -21.3273 |  |  |  | 2029-03-25 17:04 | IC15N-241218-10KansasRoarCarbon-3_4.raw
ISIRF Bamboo | 11 | 1.446 | 3.835 | 61901156 | 8.7919 | 92055536 |  |  | 3.0516 | 2.3249 | 1.9278 | 44.2259 | -29.6268 | -30.4045 |  |  |  | 2029-03-25 17:15 | IC15N-241218-10KansasRoarCarbon-3_5.raw
NBS 1575 Pine Needles | 12 | 6.792 | 6.4396 | 112044144 | 34.3125 | 500603232 |  |  | 1.2214 | 0.95405 | 0.60131 | 51.5453 | -25.0886 | -25.8179 |  |  |  | 2029-03-25 17:27 | IC15N-241218-10KansasRoarCarbon-3_6.raw
R1-20231120_W1_H | 13 | 24.273 | 2.5873 | 49507624 | 4.5261 | 47949100 |  |  | 0.23819 | 6.4019 | 5.8726 | 1.3821 | -16.7851 | -17.4258 |  |  |  | 2029-03-25 17:38 | IC15N-241218-10KansasRoarCarbon-3_7.raw
20240407_E1_A | 14 | 24.242 | 2.6496 | 49481328 | 4.8292 | 50602072 |  |  | 0.24384 | 6.2474 | 5.7231 | 1.4578 | -17.9814 | -18.6349 |  |  |  | 2029-03-25 17:49 | IC15N-241218-10KansasRoarCarbon-3_8.raw
20240407_E1_B | 15 | 25.014 | 2.2771 | 43382128 | 4.0157 | 42491452 |  |  | 0.22203 | 6.6579 | 6.1204 | 1.1877 | -18.3234 | -18.9805 |  |  |  | 2029-03-25 18:01 | IC15N-241218-10KansasRoarCarbon-3_9.raw
20240407_E1_C | 16 | 26.885 | 2.1385 | 40126776 | 3.9646 | 41831892 |  |  | 0.2022 | 7.5913 | 7.0235 | 1.0882 | -17.2828 | -17.9288 |  |  |  | 2029-03-25 18:12 | IC15N-241218-10KansasRoarCarbon-3_10.raw
20240407_E1_D | 17 | 26.484 | 1.833 | 35081264 | 3.1929 | 33109652 |  |  | 0.19269 | 5.6833 | 5.1773 | 0.87696 | -18.7057 | -19.3669 |  |  |  | 2029-03-25 18:23 | IC15N-241218-10KansasRoarCarbon-3_11.raw
20240407_E1_E | 18 | 24.553 | 2.264 | 42677968 | 4.326 | 44885780 |  |  | 0.2168 | 7.2211 | 6.6653 | 1.279 | -17.5375 | -18.1862 |  |  |  | 2029-03-25 18:35 | IC15N-241218-10KansasRoarCarbon-3_12.raw
20240407_E1_F | 19 | 24.685 | 2.062 | 39229976 | 3.6014 | 36535620 |  |  | 0.20904 | 6.4419 | 5.9113 | 1.0395 | -17.0437 | -17.6872 |  |  |  | 2029-03-25 18:46 | IC15N-241218-10KansasRoarCarbon-3_13.raw
20240407_E1_G | 20 | 24.501 | 1.7127 | 33161104 | 3.2057 | 32311924 |  |  | 0.1918 | 6.9396 | 6.3929 | 0.92634 | -18.1656 | -18.821 |  |  |  | 2029-03-25 18:58 | IC15N-241218-10KansasRoarCarbon-3_14.raw
20240407_E1_H | 21 | 26.34 | 1.9702 | 35647696 | 3.5933 | 36713016 |  |  | 0.19174 | 6.2102 | 5.6871 | 0.97958 | -19.2641 | -19.9313 |  |  |  | 2029-03-25 19:09 | IC15N-241218-10KansasRoarCarbon-3_15.raw
ISIRF Ulva | 22 | 1.163 | 4.3528 | 68136512 | 5.2945 | 54060448 |  |  | 4.0755 | 8.2475 | 7.6584 | 32.6716 | -12.3365 | -12.9298 |  |  |  | 2029-03-25 19:20 | IC15N-241218-10KansasRoarCarbon-3_16.raw
20240407_E1_I | 23 | 25.862 | 2.2894 | 42152320 | 3.7968 | 38944652 |  |  | 0.21001 | 6.3413 | 5.8139 | 1.0577 | -16.2768 | -16.912 |  |  |  | 2029-03-25 19:31 | IC15N-241218-10KansasRoarCarbon-3_17.raw
20240407_E2_A | 24 | 25.869 | 2.2956 | 42816560 | 3.5455 | 35701812 |  |  | 0.21043 | 6.8862 | 6.3412 | 0.97147 | -14.6458 | -15.2637 |  |  |  | 2029-03-25 19:43 | IC15N-241218-10KansasRoarCarbon-3_18.raw
20240407_E2_B | 25 | 24.585 | 0.90863 | 18608472 | 2.4555 | 24223492 |  |  | 0.15153 | 5.8836 | 5.3711 | 0.69674 | -9.4536 | -10.0161 |  |  |  | 2029-03-25 19:54 | IC15N-241218-10KansasRoarCarbon-3_19.raw
20240407_E2_C | 26 | 25.415 | 4.2348 | 77953920 | 7.8467 | 85908832 |  |  | 0.30895 | 7.2067 | 6.6513 | 2.3778 | -15.4661 | -16.0927 |  |  |  | 2029-03-25 20:05 | IC15N-241218-10KansasRoarCarbon-3_20.raw
R2-20240407_E2_D | 27 | 25.872 | 5.0344 | 89538640 | 9.3433 | 103975560 |  |  | 0.34063 | 7.8042 | 7.2295 | 2.8175 | -16.3407 | -16.9767 |  |  |  | 2029-03-25 20:17 | IC15N-241218-10KansasRoarCarbon-3_21.raw
R2-20240407_E2_D | 28 | 24.998 | 4.1857 | 78640416 | 8.2111 | 90484752 |  |  | 0.32463 | 8.0271 | 7.4451 | 2.5341 | -16.2237 | -16.8585 |  |  |  | 2029-03-25 20:28 | IC15N-241218-10KansasRoarCarbon-3_22.raw
20240407_E2_E | 29 | 24.524 | 3.4793 | 59948636 | 6.3486 | 69943488 |  |  | 0.28429 | 8.0737 | 7.4902 | 1.9887 | -16.2893 | -16.9247 |  |  |  | 2029-03-25 20:39 | IC15N-241218-10KansasRoarCarbon-3_23.raw
20240407_E2_F | 30 | 25.322 | 3.8946 | 72465312 | 6.9442 | 76342368 |  |  | 0.30106 | 7.8643 | 7.2876 | 2.1085 | -17.0379 | -17.6813 |  |  |  | 2029-03-25 20:50 | IC15N-241218-10KansasRoarCarbon-3_24.raw
20240407_E2_G | 31 | 24.373 | 3.9666 | 76134624 | 7.4479 | 81995264 |  |  | 0.32504 | 7.7523 | 7.1792 | 2.35 | -16.9425 | -17.5849 |  |  |  | 2029-03-25 21:02 | IC15N-241218-10KansasRoarCarbon-3_25.raw
20240407_E3_A | 32 | 25.94 | 4.4962 | 83959512 | 8.5501 | 94023160 |  |  | 0.33303 | 7.8482 | 7.272 | 2.5228 | -17.6086 | -18.2581 |  |  |  | 2029-03-25 21:13 | IC15N-241218-10KansasRoarCarbon-3_26.raw
blank | 33 | 37.5 | 0.033427 | 901460 | 0.11858 | 2333616 |  |  | 0.1022 | 16.9746 | 16.1027 | 0.045584 | -16.4757 | -17.1131 |  |  |  | 2029-03-25 21:25 | IC15N-241218-10KansasRoarCarbon-3_27.raw
ISIRF Ulva | 34 | 1.135 | 4.2834 | 68224672 | 5.3409 | 54826460 |  |  | 4.4116 | 8.0435 | 7.461 | 33.8032 | -12.4745 | -13.0692 |  |  |  | 2029-03-25 21:36 | IC15N-241218-10KansasRoarCarbon-3_28.raw
ISIRF Chitin | 35 | 0.979 | 5.7938 | 90953440 | 6.409 | 65508340 |  |  | 6.5967 | -4.798 | -4.9643 | 46.7229 | -20.3985 | -21.0778 |  |  |  | 2029-03-25 21:47 | IC15N-241218-10KansasRoarCarbon-3_29.raw
ISIRF Bamboo | 36 | 1.621 | 4.3794 | 70220600 | 10.0658 | 105692624 |  |  | 3.1512 | 2.4152 | 2.0151 | 45.379 | -29.3986 | -30.174 |  |  |  | 2029-03-25 21:58 | IC15N-241218-10KansasRoarCarbon-3_30.raw
NBS 1575 Pine Needles | 37 | 6.574 | 6.2618 | 111667816 | 34.0862 | 485313664 |  |  | 1.2837 | 0.69237 | 0.34811 | 51.4946 | -25.1585 | -25.8886 |  |  |  | 2029-03-25 22:10 | IC15N-241218-10KansasRoarCarbon-3_31.raw
20240407_E3_A_Dup | 38 | 24.885 | 4.0032 | 74474080 | 7.3836 | 79983568 |  |  | 0.30397 | 7.2007 | 6.6455 | 2.2477 | -17.4238 | -18.0714 |  |  |  | 2029-03-25 22:21 | IC15N-241218-10KansasRoarCarbon-3_32.raw
20240407_E3_B | 39 | 24.826 | 3.5817 | 65527648 | 6.6516 | 72308032 |  |  | 0.28839 | 7.9013 | 7.3234 | 2.043 | -16.7952 | -17.436 |  |  |  | 2029-03-25 22:32 | IC15N-241218-10KansasRoarCarbon-3_33.raw
20240407_E3_C | 40 | 24.399 | 3.506 | 62975104 | 6.7213 | 72291248 |  |  | 0.28733 | 7.7874 | 7.2132 | 2.076 | -17.2172 | -17.8626 |  |  |  | 2029-03-25 22:44 | IC15N-241218-10KansasRoarCarbon-3_34.raw
20240407_E3_D | 41 | 25.355 | 3.5008 | 66455816 | 6.8522 | 73632752 |  |  | 0.2864 | 7.4199 | 6.8576 | 2.0354 | -16.3943 | -17.0308 |  |  |  | 2029-03-25 22:55 | IC15N-241218-10KansasRoarCarbon-3_35.raw
20240407_E3_E | 42 | 24.934 | 3.4731 | 66382488 | 6.657 | 73781080 |  |  | 0.28774 | 7.3263 | 6.767 | 2.0671 | -15.0995 | -15.7222 |  |  |  | 2029-03-25 23:06 | IC15N-241218-10KansasRoarCarbon-3_36.raw
20240407_E3_F | 43 | 24.825 | 3.2713 | 60997808 | 5.9325 | 65263024 |  |  | 0.27487 | 7.0015 | 6.4528 | 1.8416 | -15.418 | -16.0441 |  |  |  | 2029-03-25 23:18 | IC15N-241218-10KansasRoarCarbon-3_37.raw
20240407_E3_G | 44 | 24.328 | 3.7389 | 72591648 | 7.1751 | 78818192 |  |  | 0.30662 | 6.9972 | 6.4486 | 2.2666 | -15.0009 | -15.6225 |  |  |  | 2029-03-25 23:29 | IC15N-241218-10KansasRoarCarbon-3_38.raw
20240407_E3_H | 45 | 24.601 | 3.8894 | 76740416 | 7.6695 | 84945808 |  |  | 0.31635 | 7.5482 | 6.9817 | 2.4185 | -14.9473 | -15.5684 |  |  |  | 2029-03-25 23:40 | IC15N-241218-10KansasRoarCarbon-3_39.raw
20240407_E3_I | 46 | 26.584 | 3.5634 | 69382184 | 6.3819 | 70182696 |  |  | 0.28822 | 6.9431 | 6.3963 | 1.8484 | -15.1439 | -15.7671 |  |  |  | 2029-03-25 23:52 | IC15N-241218-10KansasRoarCarbon-3_40.raw
ISIRF Ulva | 47 | 1.243 | 4.7837 | 75677504 | 5.975 | 62196408 |  |  | 4.5749 | 8.1988 | 7.6112 | 34.9471 | -12.3872 | -12.981 |  |  |  | 2029-03-26 00:03 | IC15N-241218-10KansasRoarCarbon-3_41.raw
20240407_S2_A | 48 | 25.391 | 5.8011 | 108006384 | 11.2076 | 119815104 |  |  | 0.39199 | 5.0405 | 4.5553 | 3.2715 | -24.7588 | -25.4846 |  |  |  | 2029-03-26 00:14 | IC15N-241218-10KansasRoarCarbon-3_42.raw
20240407_S2_B | 49 | 24.394 | 19.9792 | 353422336 | 31.2246 | 426214080 |  |  | 1.0857 | 7.8976 | 7.3199 | 12.1946 | -24.7839 | -25.5099 |  |  |  | 2029-03-26 00:25 | IC15N-241218-10KansasRoarCarbon-3_43.raw
20240407_S2_C | 50 | 24.126 | 1.0214 | 21709248 | 2.6951 | 27895940 |  |  | 0.16302 | 6.2619 | 5.7372 | 0.81545 | -10.8798 | -11.4574 |  |  |  | 2029-03-26 00:37 | IC15N-241218-10KansasRoarCarbon-3_44.raw
20240407_S2_D | 51 | 24.695 | 4.5958 | 83345488 | 9.5409 | 101277200 |  |  | 0.33502 | 4.9761 | 4.493 | 2.8678 | -25.0265 | -25.7552 |  |  |  | 2029-03-26 00:48 | IC15N-241218-10KansasRoarCarbon-3_45.raw
20240407_S2_E | 52 | 25.261 | 3.2563 | 57975532 | 6.122 | 65601768 |  |  | 0.25721 | 5.7837 | 5.2744 | 1.8199 | -18.3307 | -18.9879 |  |  |  | 2029-03-26 00:59 | IC15N-241218-10KansasRoarCarbon-3_46.raw
20240407_S2_F | 53 | 24.554 | 0.80527 | 17376784 | 2.1278 | 22056528 |  |  | 0.1506 | 6.606 | 6.0701 | 0.63178 | -10.6189 | -11.1938 |  |  |  | 2029-03-26 01:11 | IC15N-241218-10KansasRoarCarbon-3_47.raw
20240407_S2_G | 54 | 24.314 | 2.7157 | 46148036 | 5.5703 | 60219708 |  |  | 0.234 | 6.5718 | 6.037 | 1.7304 | -16.5164 | -17.1542 |  |  |  | 2029-03-26 01:22 | IC15N-241218-10KansasRoarCarbon-3_48.raw
20240407_S2_H | 55 | 24.675 | 2.7485 | 50925240 | 5.393 | 59059316 |  |  | 0.24609 | 6.0392 | 5.5216 | 1.6785 | -16.024 | -16.6566 |  |  |  | 2029-03-26 01:33 | IC15N-241218-10KansasRoarCarbon-3_49.raw
20240407_S2_I | 56 | 25.174 | 2.482 | 47774816 | 4.8458 | 52867952 |  |  | 0.22916 | 5.9397 | 5.4254 | 1.4758 | -16.5023 | -17.14 |  |  |  | 2029-03-26 01:45 | IC15N-241218-10KansasRoarCarbon-3_50.raw
R1-20231120_W1_H | 57 | 24.794 | 2.652 | 48859560 | 5.0087 | 53586412 |  |  | 0.23943 | 6.7293 | 6.1894 | 1.5127 | -16.9651 | -17.6078 |  |  |  | 2029-03-26 01:56 | IC15N-241218-10KansasRoarCarbon-3_51.raw
blank | 58 | 37.5 | 0.056835 | 1303300 | 0 | 0 |  |  | 0.10391 | 12.8809 | 12.1417 | 0 | 0.059483 | -0.40144 |  |  |  | 2029-03-26 02:07 | IC15N-241218-10KansasRoarCarbon-3_52.raw
ISIRF Ulva | 59 | 1.284 | 4.7322 | 75844800 | 6.0247 | 61022608 |  |  | 4.2046 | 7.9504 | 7.3709 | 33.232 | -12.0852 | -12.6757 |  |  |  | 2029-03-26 02:19 | IC15N-241218-10KansasRoarCarbon-3_53.raw
ISIRF Chitin | 60 | 1.079 | 6.3248 | 100359056 | 6.9681 | 71153696 |  |  | 6.5334 | -4.8848 | -5.0483 | 46.018 | -20.5481 | -21.229 |  |  |  | 2029-03-26 02:30 | IC15N-241218-10KansasRoarCarbon-3_54.raw
ISIRF Bamboo | 61 | 1.581 | 4.0268 | 65638524 | 9.4968 | 98699496 |  |  | 3.0392 | 2.4636 | 2.062 | 43.4906 | -29.4964 | -30.2727 |  |  |  | 2029-03-26 02:41 | IC15N-241218-10KansasRoarCarbon-3_55.raw
NBS 1575 Pine Needles | 62 | 6.873 | 6.4289 | 117563456 | 34.4584 | 507203456 |  |  | 1.2809 | 0.80464 | 0.45674 | 51.6203 | -25.2352 | -25.9661 |  |  |  | 2029-03-26 02:52 | IC15N-241218-10KansasRoarCarbon-3_56.raw
Standard | Run Type | Actual d15N | %N | Actual d13C | %C | Actual d34S | %S | Slope d15N | Intrcpt | Slope d13C | Intrcpt | Slope d34S | Intrcpt
ISIRF Ulva | QC.STD | 7.4989 | 4.2927 | -12.8905 | 33.2944 |  |  | 0.96759 | -0.32182 | 1.0107 | -0.46156
ISIRF Chitin | Cal-H.STD | -5.0094 | 6.526 | -21.201 | 44.9252
ISIRF Bamboo | Cal-L.STD | 2.0695 | 3.0464 | -30.2917 | 45.8502
NBS 1575 Pine Needles | Isotope QC | 0.36349 | 1.1398 | -25.8082 | 52.2541

## Investigator QA Data
|  |  |  | FILE NAME: | IC13C-241218-10KansasROARCarbon-3
Quality Assurance data for Carbon: |  |  |  | d13C |  |  |  | %C |  |  |  | Precision of carbon data
|  | Sample | Actual | Meas. | Var. | s.d. | Actual | Meas. | Var. | r. s.d. | N | d13C |  | 0.12327
NIST Certified Isotope Standard - QC |  | NBS 1575 Pine Needles | -25.8082 | -25.8909 | 0.0054946 | 0.074126 | 52.2541 | 51.5534 | 0.0040015 | 0.001227 | 3 | [C] % |  | 0.033802
Conc Cal Std - Isotope QC Std |  | ISIRF Ulva | -12.8905 | -12.8891 | 0.024479 | 0.15646 | 33.2944 | 33.5095 | 0.82789 | 0.027153 | 5 | Accuracy of carbon data
Conc QC Std - Isotope High Cal Std |  | ISIRF Chitin | -21.201 | -21.2113 | 0.015801 | 0.1257 | 44.9252 | 46.0494 | 0.43346 | 0.014297 | 3 | d13C |  | 0.082685
Conc QC Std - Isotope Low Cal Std |  | ISIRF Bamboo | -30.2917 | -30.2837 | 0.013382 | 0.11568 | 45.8502 | 44.3652 | 0.90607 | 0.021456 | 3 | [C] % |  | 0.7007
Replicate Sample 1 |  | 20231120_W1_H |  | -17.5168 | 0.016549 | 0.12864 |  | 1.4474 | 0.0085219 | 0.063779 | 2
Replicate Sample 2 |  | 20240407_E2_D |  | -16.9176 | 0.0069901 | 0.083607 |  | 2.6758 | 0.040168 | 0.0749 | 2
Quality Assurance Data for Nitrogen: |  |  |  | d15N |  |  |  | %N |  |  |  | Precision of nitrogen data
|  | Sample | Actual | Meas. | Var. | s.d. | Actual | Meas. | Var. | r.s.d. | N | d15N |  | 0.12668
NIST Certified Isotope Standard - QC |  | NBS 1575 Pine Needles | 0.36349 | 0.46872 | 0.016135 | 0.12702 | 1.1398 | 1.262 | 0.0012403 | 0.027907 | 3 | [N] % |  | 0.024772
Conc Cal Std - Isotope QC Std |  | ISIRF Ulva | 7.4989 | 7.5205 | 0.013385 | 0.11569 | 4.2927 | 4.279 | 0.043694 | 0.048851 | 5 | Accuracy of nitrogen data
Conc QC Std - Isotope High Cal Std |  | ISIRF Chitin | -5.0094 | -4.9775 | 0.0042544 | 0.065226 | 6.526 | 6.5146 | 0.0086353 | 0.014264 | 3 | d15N |  | -0.10523
Conc QC Std - Isotope Low Cal Std |  | ISIRF Bamboo | 2.0695 | 2.0016 | 0.0046394 | 0.068113 | 3.0464 | 3.0807 | 0.0037682 | 0.019926 | 3 | [N] % |  | -0.12219
Replicate Sample 1 |  | 20231120_W1_H |  | 6.031 | 0.050163 | 0.22397 |  | 0.23881 | 7.6755e-07 | 0.0036686 | 2
Replicate Sample 2 |  | 20240407_E2_D |  | 7.3373 | 0.023253 | 0.15249 |  | 0.33263 | 0.00012802 | 0.034016 | 2
Quality Assurance Data for Sulfur: |  |  |  | d34S |  |  |  | %S |  |  |  | Precision of Sulfur data
|  | Sample | Actual | Meas. | Var. | s.d. | Actual | Meas. | Var. | s.d. | N | d34S
NIST Certified Isotope Standard - QC | [11 empty] | [S] %
Conc Cal Std - Isotope QC Std | [11 empty] | Accuracy of Sulfur data
Conc QC Std - Isotope High Cal Std | [11 empty] | d34S
Conc QC Std - Isotope Low Cal Std | [11 empty] | [S] %
Replicate Sample 1
Replicate Sample 2
Standard and replicate data
Run date | File name |  | Standard | Run type | Seq # | Wt. (mg) | Mass 28 nAmp | Mass 28 Area | %N | δ15N | Mass 44 nAmp | Mass 44 Area | %C | δ13C | Notes
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_3.raw |  | ISIRF Ulva | QC.STD | 9 | 1.203 | 4.4609 | 71002552 | 4.1283 | 7.5012 | 5.5945 | 56886720 | 32.8935 | -12.7898
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_16.raw |  | ISIRF Ulva | QC.STD | 22 | 1.163 | 4.3528 | 68136512 | 4.0755 | 7.6584 | 5.2945 | 54060448 | 32.6716 | -12.9298
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_28.raw |  | ISIRF Ulva | QC.STD | 34 | 1.135 | 4.2834 | 68224672 | 4.4116 | 7.461 | 5.3409 | 54826460 | 33.8032 | -13.0692
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_41.raw |  | ISIRF Ulva | QC.STD | 47 | 1.243 | 4.7837 | 75677504 | 4.5749 | 7.6112 | 5.975 | 62196408 | 34.9471 | -12.981
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_53.raw |  | ISIRF Ulva | QC.STD | 59 | 1.284 | 4.7322 | 75844800 | 4.2046 | 7.3709 | 6.0247 | 61022608 | 33.232 | -12.6757
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_4.raw |  | ISIRF Chitin | Cal-H.STD | 10 | 0.963 | 5.6858 | 89403248 | 6.4137 | -4.9199 | 6.1319 | 6.1319 | 45.4073 | -21.3273
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_29.raw |  | ISIRF Chitin | Cal-H.STD | 35 | 0.979 | 5.7938 | 90953440 | 6.5967 | -4.9643 | 6.409 | 65508340 | 46.7229 | -21.0778
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_54.raw |  | ISIRF Chitin | Cal-H.STD | 60 | 1.079 | 6.3248 | 100359056 | 6.5334 | -5.0483 | 6.9681 | 71153696 | 46.018 | -21.229
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_5.raw |  | ISIRF Bamboo | Cal-L.STD | 11 | 1.446 | 3.835 | 61901156 | 3.0516 | 1.9278 | 8.7919 | 92055536 | 44.2259 | -30.4045
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_30.raw |  | ISIRF Bamboo | Cal-L.STD | 36 | 1.621 | 4.3794 | 70220600 | 3.1512 | 2.0151 | 10.0658 | 105692624 | 45.379 | -30.174
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_55.raw |  | ISIRF Bamboo | Cal-L.STD | 61 | 1.581 | 4.0268 | 65638524 | 3.0392 | 2.062 | 9.4968 | 98699496 | 43.4906 | -30.2727
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_6.raw |  | NBS 1575 Pine Needles | QA STD | 12 | 6.792 | 6.4396 | 112044144 | 1.2214 | 0.60131 | 34.3125 | 500603232 | 51.5453 | -25.8179
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_31.raw |  | NBS 1575 Pine Needles | QA STD | 37 | 6.574 | 6.2618 | 111667816 | 1.2837 | 0.34811 | 34.0862 | 485313664 | 51.4946 | -25.8886
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_56.raw |  | NBS 1575 Pine Needles | QA STD | 62 | 6.873 | 6.4289 | 117563456 | 1.2809 | 0.45674 | 34.4584 | 507203456 | 51.6203 | -25.9661
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_7.raw |  | R1-20231120_W1_H | Rep-1 | 13 | 24.273 | 2.5873 | 49507624 | 0.23819 | 5.8726 | 4.5261 | 47949100 | 1.3821 | -17.4258
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_51.raw |  | R1-20231120_W1_H | Rep-1 | 57 | 24.794 | 2.652 | 48859560 | 0.23943 | 6.1894 | 5.0087 | 53586412 | 1.5127 | -17.6078
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_21.raw |  | R2-20240407_E2_D | Rep-2 | 27 | 25.872 | 5.0344 | 89538640 | 0.34063 | 7.2295 | 9.3433 | 103975560 | 2.8175 | -16.9767
2025-03-24 | IC15N-241218-10KansasRoarCarbon-3_22.raw |  | R2-20240407_E2_D | Rep-2 | 28 | 24.998 | 4.1857 | 78640416 | 0.32463 | 7.4451 | 8.2111 | 90484752 | 2.5341 | -16.8585

## ISIRF 15N
FILE NAME: | IC13C-241218-10KansasROARCarbon-3
Standard | Run Type | δ15N | %N
ISIRF Ulva | QC.STD | 7.4989 | 4.2927
ISIRF Chitin | Cal-H.STD | -5.0094 | 6.526
ISIRF Bamboo | Cal-L.STD | 2.0695 | 3.0464
NBS 1575 Pine Needles | Check QC | 0.36349 | 1.1398
Nitrogen Standards
Run date | File name |  | Standard | Run type | Seq # | Wt. (mg) | Mass 28 nAmp | N2 Area | %N | δ15N | Notes
2029-03-25 16:52 | IC15N-241218-10KansasRoarCarbon-3_3.raw |  | ISIRF Ulva | QC.STD | 9 | 1.203 | 4.4609 | 71002552 | 4.1283 | 7.5012
2029-03-25 19:20 | IC15N-241218-10KansasRoarCarbon-3_16.raw |  | ISIRF Ulva | QC.STD | 22 | 1.163 | 4.3528 | 68136512 | 4.0755 | 7.6584
2029-03-25 21:36 | IC15N-241218-10KansasRoarCarbon-3_28.raw |  | ISIRF Ulva | QC.STD | 34 | 1.135 | 4.2834 | 68224672 | 4.4116 | 7.461
2029-03-26 00:03 | IC15N-241218-10KansasRoarCarbon-3_41.raw |  | ISIRF Ulva | QC.STD | 47 | 1.243 | 4.7837 | 75677504 | 4.5749 | 7.6112
2029-03-26 02:19 | IC15N-241218-10KansasRoarCarbon-3_53.raw |  | ISIRF Ulva | QC.STD | 59 | 1.284 | 4.7322 | 75844800 | 4.2046 | 7.3709
2029-03-25 17:04 | IC15N-241218-10KansasRoarCarbon-3_4.raw |  | ISIRF Chitin | Cal-H.STD | 10 | 0.963 | 5.6858 | 89403248 | 6.4137 | -4.9199
2029-03-25 21:47 | IC15N-241218-10KansasRoarCarbon-3_29.raw |  | ISIRF Chitin | Cal-H.STD | 35 | 0.979 | 5.7938 | 90953440 | 6.5967 | -4.9643
2029-03-26 02:30 | IC15N-241218-10KansasRoarCarbon-3_54.raw |  | ISIRF Chitin | Cal-H.STD | 60 | 1.079 | 6.3248 | 100359056 | 6.5334 | -5.0483
2029-03-25 17:15 | IC15N-241218-10KansasRoarCarbon-3_5.raw |  | ISIRF Bamboo | Cal-L.STD | 11 | 1.446 | 3.835 | 61901156 | 3.0516 | 1.9278
2029-03-25 21:58 | IC15N-241218-10KansasRoarCarbon-3_30.raw |  | ISIRF Bamboo | Cal-L.STD | 36 | 1.621 | 4.3794 | 70220600 | 3.1512 | 2.0151
2029-03-26 02:41 | IC15N-241218-10KansasRoarCarbon-3_55.raw |  | ISIRF Bamboo | Cal-L.STD | 61 | 1.581 | 4.0268 | 65638524 | 3.0392 | 2.062
2029-03-25 17:27 | IC15N-241218-10KansasRoarCarbon-3_6.raw |  | NBS 1575 Pine Needles | QA STD | 12 | 6.792 | 6.4396 | 112044144 | 1.2214 | 0.60131
2029-03-25 22:10 | IC15N-241218-10KansasRoarCarbon-3_31.raw |  | NBS 1575 Pine Needles | QA STD | 37 | 6.574 | 6.2618 | 111667816 | 1.2837 | 0.34811
2029-03-26 02:52 | IC15N-241218-10KansasRoarCarbon-3_56.raw |  | NBS 1575 Pine Needles | QA STD | 62 | 6.873 | 6.4289 | 117563456 | 1.2809 | 0.45674
QA Summary 15N: |  | d15N |  |  | %N |  | N
| X | var. | s.d. | X | var | r.s.d.
REP1 (‰) | 6.031 | 0.050163 | 0.22397 | 0.23881 | 7.6755e-07 | 0.0036686 | 2
REP2 (‰) | 7.3373 | 0.023253 | 0.15249 | 0.33263 | 0.00012802 | 0.034016 | 2
QC.STD | 7.5205 | 0.013385 | 0.11569 | 4.279 | 0.043694 | 0.048851 | 5
Cal-H.STD | -4.9775 | 0.0042544 | 0.065226 | 6.5146 | 0.0086353 | 0.014264 | 3
Cal-L.STD | 2.0016 | 0.0046394 | 0.068113 | 3.0807 | 0.0037682 | 0.019926 | 3
Check QC | 0.46872 | 0.016135 | 0.12702 | 1.262 | 0.0012403 | 0.027907 | 3
Notes:

## ISIRF 13C
FILE NAME: | IC13C-241218-10KansasROARCarbon-3
Standard | Run Type | Actual d13C | %C
ISIRF Ulva | QC.STD | -12.8905 | 33.2944
ISIRF Chitin | Cal-H.STD | -21.201 | 44.9252
ISIRF Bamboo | Cal-L.STD | -30.2917 | 45.8502
NBS 1575 Pine Needles | Check QC | -25.8082 | 52.2541
Carbon Standards
Run date | File name |  | Standard | Run type | Seq # | Wt. (mg) | Mass 44 nAmp | CO2 Area | %C | δ13C | Notes
2029-03-25 16:52 | IC15N-241218-10KansasRoarCarbon-3_3.raw |  | ISIRF Ulva | QC.STD | 9 | 1.203 | 5.5945 | 56886720 | 32.8935 | -12.7898
2029-03-25 19:20 | IC15N-241218-10KansasRoarCarbon-3_16.raw |  | ISIRF Ulva | QC.STD | 22 | 1.163 | 5.2945 | 54060448 | 32.6716 | -12.9298
2029-03-25 21:36 | IC15N-241218-10KansasRoarCarbon-3_28.raw |  | ISIRF Ulva | QC.STD | 34 | 1.135 | 5.3409 | 54826460 | 33.8032 | -13.0692
2029-03-26 00:03 | IC15N-241218-10KansasRoarCarbon-3_41.raw |  | ISIRF Ulva | QC.STD | 47 | 1.243 | 5.975 | 62196408 | 34.9471 | -12.981
2029-03-26 02:19 | IC15N-241218-10KansasRoarCarbon-3_53.raw |  | ISIRF Ulva | QC.STD | 59 | 1.284 | 6.0247 | 61022608 | 33.232 | -12.6757
2029-03-25 17:04 | IC15N-241218-10KansasRoarCarbon-3_4.raw |  | ISIRF Chitin | Cal-H.STD | 10 | 0.963 | 6.1319 | 62863428 | 45.4073 | -21.3273
2029-03-25 21:47 | IC15N-241218-10KansasRoarCarbon-3_29.raw |  | ISIRF Chitin | Cal-H.STD | 35 | 0.979 | 6.409 | 65508340 | 46.7229 | -21.0778
2029-03-26 02:30 | IC15N-241218-10KansasRoarCarbon-3_54.raw |  | ISIRF Chitin | Cal-H.STD | 60 | 1.079 | 6.9681 | 71153696 | 46.018 | -21.229
2029-03-25 17:15 | IC15N-241218-10KansasRoarCarbon-3_5.raw |  | ISIRF Bamboo | Cal-L.STD | 11 | 1.446 | 8.7919 | 92055536 | 44.2259 | -30.4045
2029-03-25 21:58 | IC15N-241218-10KansasRoarCarbon-3_30.raw |  | ISIRF Bamboo | Cal-L.STD | 36 | 1.621 | 10.0658 | 105692624 | 45.379 | -30.174
2029-03-26 02:41 | IC15N-241218-10KansasRoarCarbon-3_55.raw |  | ISIRF Bamboo | Cal-L.STD | 61 | 1.581 | 9.4968 | 98699496 | 43.4906 | -30.2727
2029-03-25 17:27 | IC15N-241218-10KansasRoarCarbon-3_6.raw |  | NBS 1575 Pine Needles | Cal-L.STD | 12 | 6.792 | 34.3125 | 500603232 | 51.5453 | -25.8179
2029-03-25 22:10 | IC15N-241218-10KansasRoarCarbon-3_31.raw |  | NBS 1575 Pine Needles | Cal-L.STD | 37 | 6.574 | 34.0862 | 485313664 | 51.4946 | -25.8886
2029-03-26 02:52 | IC15N-241218-10KansasRoarCarbon-3_56.raw |  | NBS 1575 Pine Needles | Cal-L.STD | 62 | 6.873 | 34.4584 | 507203456 | 51.6203 | -25.9661
QA Summary 13C: | 13C |  |  | %C |  |  | N
| Avg | Variance | s.d. | X | Variance | r.s.d
REP1 (‰) | -17.5168 | 0.016549 | 0.12864 | 1.4474 | 0.0085219 | 0.063779 | 2
REP2 (‰) | -16.9176 | 0.0069901 | 0.083607 | 2.6758 | 0.040168 | 0.0749 | 2
QC.STD | -12.8891 | 0.024479 | 0.15646 | 33.5095 | 0.82789 | 0.027153 | 5
Cal-H.STD | -21.2113 | 0.015801 | 0.1257 | 46.0494 | 0.43346 | 0.014297 | 3
Cal-L.STD | -30.2837 | 0.013382 | 0.11568 | 44.3652 | 0.90607 | 0.021456 | 3
Check QC | -25.8909 | 0.0054946 | 0.074126 | 51.5534 | 0.0040015 | 0.001227 | 3
Notes:

## Tables
NBS/NIST | Standard | Targ. Wt | Last Name | First Name | Branch | ID Number | Address | email Address | Phone
B2157 Wheat Flour | Wheat Flour | 3 | Anderson | Chris | EEB | 11 | Corvallis Anx A16 | andersen.Christian@epa.gov | 4791
B2159 Sorghum Flour | Sorghum Flour | 3 | Brooks | Reneé | EEB | 8 | Corvallis Bldg 74 | brooks.reneej@epa.gov | 4684
ISIRF Bamboo | Bamboo | 1.5 | Compton | Jana | FEB | 10 | Corvallis MOD 130 | compton.jana@epa.gov | 4620
NBS 1577 Bovine Liver | Bovine Liver | 1 | Dewitt | Ted | PCEB | 19 | Newport A-102 | dewitt.ted@epa.gov | 4029
ISIRF Chitin | Chitin | 1 | Faulkner | Bart | Ada | 23
NBS 1572 Citrus Leaf | Citrus Leaf | 2 | Forshey | Ken | Ada | 22
NBS 8412 Corn Stalk | Corn Stalk | 6.5 | Johnson | Mark | EEB | 2 | Corvallis PEB 112 | johnson.markg@epa.gov | 4696
NBS 1575 Pine Needles | Pine Needles | 6.5 | Kaldy | Jim | CEB | 16 | Newport A-124 | kaldy.james@epa.gov | 4026
NIST 8541 Graphite | Graphite | 0.5 | Lee | Henry | EEB | 17 | Corvallis PEB 117 |  | 4832
NIST 8542 Sucrose | Sucrose | 1 | McKane | Bob | EEB | 14 | Corvallis SSB 202 |  | 4631
NIST 8550 Am Sulf | Ammonium Sulfate | 0.5 | Nahlik | Amanda | FEB | 24 | Corvallis Main-208 | nahlik.amanda@epa.gov | 4581
NIST 8551 Am Sulf | Ammonium Sulfate | 0.5 | Olszyk | Dave | EEB | 13 | Corvallis SSB 206 |  | 4397
NIST 8573 Glutamic | L-Glutamic | 0.5 | Rugh | QA QC | ISIRF | 0 | Corvallis Main-201 | rugh.william@epa.gov | 4604
NIST 8574 Glutamic | L-Glutamic | 0.5 | Trine | QA QC | ISIRF | 0 | Corvallis Main-201 | Trine.Lisandra@epa.gov
ISIRF Ulva | Ulva | 1.2 | Weitzman | Julie | EEB/WQPB | 25 | Atlanta, GA (R4 Office) | weitzman.julie@epa.gov
USGS 42 Tib Hair | Tibetan Hair | 0.6
|  |  | Logical |  |  | 13C
|  |  | Yes |  |  | 15N
|  |  | No |  |  | 13C15N
34S
|  |  | Todays Date |  |  | Janice Chatfield
|  |  | 2025-03-25 |  |  | Lisandra Trine
William Rugh
Other
Text conversion to date
250325

## Revisions
Date | Changes and comments | initals
2020-06-22 | New version. Drop down boxes added and look-up for SRM included. | wdr